# PART 1 – GENERAL

  - SCOPE

- SUPPLIER: Furnish and install 2” Horizontal FR Faux Wood ShadeSense Blinds

- RELATED WORK SPECIFIED ELSEWHERE:

  - Section 06100: Rough Carpentry

  - Section 08520: Aluminum Windows

  - REFERENCES

- FLAME-RESISTANT HEADRAIL AND COMPONENTS CONTAINED WITHIN SHALL PASS OR EXCEED THREE OR MORE OF THE FOLLOWING TESTS:

- National Fire Protection Association (NFPA) 701 (small scale for horizontal applications)

- Department of Transportation Motor Vehicle Safety Standard 302 Flammability of Interior Materials

- California Administrative Code Title 19

- Federal Standard 191 Method 5903 (used by Port Authority of New York and New Jersey for drapery, curtain, and upholstery material)

- Boston Fire Department Test BFD IX-1

- New York State Uniform Fire Prevention and Building Code

- GREENGUARD Gold Certification

  - SUBMITTALS

  - PRODUCT DATA: Manufacturer’s descriptive literature shall be submitted indicating materials, finishes, construction and installation instructions and verifying that product meets requirements specified. Manufacturers recommendations for maintenance and cleaning shall be included.

  - DRAWINGS AND DIAGRAMS: Wiring diagrams of any motorized components or units, working and assembly drawings shall be supplied as requested.

  - SAMPLE: Responsible contracting officer or agent shall supply one sample shade of each type specified in this contract for approval. Supplied units shall be furnished complete with all required components, mounting and associated hardware, instructions and warranty.

  - QUALITY ASSURANCE:

- Supplier: Manufacturer, subsidiary or licensed agent shall be approved to supply the products specified, and to honor any claims against product presented in accordance with warranty.

- INSTALLER: Installer or agent shall be qualified to install specified products by prior experience, demonstrated performance and acceptance of requirements of manufacturer, subsidiary, or licensed agent. Installer shall be responsible for an acceptable installation.

- UNIFORMITY: Provide 2” Horizontal Faux Wood Blind of only one manufacturer for entire project.

  - DELIVERY, STORAGE AND HANDLING:

- Product shall be delivered to site in manufacturer’s original packaging.

- Product shall be handled and stored to prevent damage to materials, finishes and operating mechanisms.

  - JOB CONDITIONS:

- Prior to shade installation, building shall be enclosed.

- Interior temperature shall be maintained between 60° F. and 90° F. during and after installation; relative humidity shall not exceed 80%. Wet work shall be complete and dry.

  - WARRANTY:

- Lifetime Limited Warranty. Specific product warranties available from manufacturer or its authorized agent.

PART 2 – PRODUCTS

  - ACCEPTABLE MANUFACTURER

- Hunter Douglas Architectural / 13915 Danielson St., Ste.100 / Poway, CA 92064 / Phone: 800-727-8953 Fax: 800-205-9819 / Website: http://www.HDarchitectural.com/, or architect approved equivalent.

- Product substitutions must be approved by architect minimum of 30 days prior to close of bid.

  - 2” HORIZONTAL FAUX WOOD BLINDS

- PRODUCT: Hunter Douglas Architectural “2” Horizontal FR Faux Wood ShadeSense Blind”

- MATERIALS:

  - SLATS: 50mm (+/- 0.5mm) wide x 2.8mm (+/- 0.3mm) thick engineered polymer with consistent color throughout eliminating slat end touch-up. Furnish not less than nominal 7.0 slats per foot to ensure tight closure and light control. Finish with manufacturer’s standard colors selected by architect from manufacturer’s available contract colors.

  - SLAT SUPPORT: Braided ladders of 100% polyester yarn color compatible with slats and spacing of ladder no more than 44mm.

  - HEADRAIL: U-shaped profile with rolled edges, measuring 1 1/2” x 2 1/4” x .024” constructed of corrosion resistant steel and providing a sleek low profile design. Internally fit with components required for specified performance and designed for smooth, quiet, trouble-free operation. Headrail finish to be standard baked-on polyester and to coordinate with slats. Ends fitted with zinc-coated steel end lock with adjustable tab for centering blinds.

  - BOTTOM RAIL: 2” wide x 4” thick polymer rectangle shape. Color-coordinated engineered polymer tape buttons secure the ladder and cord. Finish to be manufacturers standard colors or stained finish to match slats.

  - LIFTING MECHANISM: Engineered polymer and galvanized steel housing cordlocks with polymer roller bearing and steel locking dogs, two-ply polyester cord filler in braided polyester jacket lift cords, break-away safety tassel.

  - TILTING MECHANISM: Permanently lubricated and fully enclosed standard cord tilt holds and tilts slats at any angle. Solid steel, corrosion resistant tilt rod. Optional wand tilt of worm and gear construction incorporated into tilter mechanism.

  - OPTIONAL TILT CONTROL WAND: Rounded 7/16” diameter constructed of quality selected hardwood stained and lacquered or painted to match slats and detachable without tools. Located on either side of individual blind unit as per architect’s request.

  - MOUNTING HARDWARE: Manufacturer’s standard .030” steel box brackets with baked-on polyester finish to match headrail with additional support brackets for blinds over 48” wide.

  - VALANCE: Crafted polystyrene based polymer with finish to match slats.

- ADDITIONAL AVAILABLE OPTIONS:

  - STANDARD DECORATIVE VALANCE:  Standard valance included free on all polymer blinds.  This elegant, high-profile decorative valance looks great and will reduce any light gap between the top slat and the headrail.  Provides superior means for quickly and securely attach the valance to the headraill while also allowing for height and projection adjustments.  Glued-on returns create a clean, aligned valance corner without requiring assembly.

  - CORDLESS LIFT AND LOCK:  Press a button on the color-coordinated aluminum bottomrail to lift and lower the blind.  Release the button to lock the blinds in place.  Lift only, not tilt, still requires a wand or lift cord for tilting.

  - LIGHTS OUT Routeless Slat Design:  Slats will be cut without route holes, reducing light leakage, allows for better room darkening and more privacy when the blinds are closed.

  - FABRICATION

- Blind measurements shall be accurate to within + 1/8” or as recommended in writing by manufacturer.

2.04 FINISHES

- SLAT color finish selection as determined by the Architect.

- SLAT SUPPORT braided ladders shall be color coordinated with slat.

PART 3 - EXECUTION

  - INSPECTION:

- SUBCONTRACTOR shall be responsible for inspection on site, approval of mounting surfaces, installation conditions and field measurement for this work.

- OTHER INTERACTING TRADES shall receive drawings of shade systems, dimensions, assembly and installation methods from subcontractor upon request.

  - INSTALLATION:

- INSTALLATION shall comply with manufacturer’s specifications, standards and procedures as detailed on contract drawings.

- ADEQUATE CLEARANCE shall be provided to permit unencumbered operation of shade and hardware.

- CLEAN finish installation of dirt and finger marks. Leave work area clean and free of debris.

  - DEMONSTRATION:

- Demonstrate operation method and instruct owner’s personnel in the proper operation and maintenance of the blinds.

  - SCHEDULE:

- EXTERIOR WINDOWS:

- INTERIOR RELIGHTS:

END OF SECTION 12492