# PART 1 – GENERAL

  - SCOPE

- SUPPLIER: Furnish and install 2” Horizontal Non FR Wood Blinds (Premium Quality)

- RELATED WORK SPECIFIED ELSEWHERE:

  - Section 06100: Rough Carpentry

  - Section 08520: Aluminum Windows

  - REFERENCES

- FLAME-RESISTANT HEADRAIL AND COMPONENTS CONTAINED WITHIN SHALL PASS OR EXCEED ONE OR MORE OF THE FOLLOWING TESTS:

- National Fire Protection Association (NFPA) 701 (small scale for horizontal applications)

- Department of Transportation Motor Vehicle Safety Standard 302 Flammability of Interior Materials

- California Administrative Code Title 19

- Federal Standard 191 Method 5903 (used by Port Authority of New York and New Jersey for drapery, curtain, and upholstery material)

- Boston Fire Department Test BFD IX-1

- New York State Uniform Fire Prevention and Building Code

  - SUBMITTALS

  - PRODUCT DATA: Manufacturer’s descriptive literature shall be submitted indicating materials, finishes, construction and installation instructions and verifying that product meets requirements specified. Manufacturers recommendations for maintenance and cleaning shall be included.

  - DRAWINGS AND DIAGRAMS: Wiring diagrams of any motorized components or units, working and assembly drawings shall be supplied as requested.

  - SAMPLE: Responsible contracting officer or agent shall supply one sample shade of each type specified in this contract for approval. Supplied units shall be furnished complete with all required components, mounting and associated hardware, instructions and warranty.

  - QUALITY ASSURANCE:

- Supplier: Manufacturer, subsidiary or licensed agent shall be approved to supply the products specified, and to honor any claims against product presented in accordance with warranty.

- INSTALLER: Installer or agent shall be qualified to install specified products by prior experience, demonstrated performance and acceptance of requirements of manufacturer, subsidiary, or licensed agent. Installer shall be responsible for an acceptable installation.

- UNIFORMITY: Provide 2” Horizontal Wood Blind of only one manufacturer for entire project.

  - DELIVERY, STORAGE AND HANDLING:

- Product shall be delivered to site in manufacturer’s original packaging.

- Product shall be handled and stored to prevent damage to materials, finishes and operating mechanisms.

  - JOB CONDITIONS:

- Prior to shade installation, building shall be enclosed.

- Interior temperature shall be maintained between 60° F. and 90° F. during and after installation; relative humidity shall not exceed 80%. Wet work shall be complete and dry.

  - WARRANTY:

- Lifetime Limited Warranty. Specific product warranties available from manufacturer or its authorized agent.

PART 2 – PRODUCTS

  - ACCEPTABLE MANUFACTURER

- Hunter Douglas Architectural / 13915 Danielson St., Ste.100/ Poway, CA 92064/ Phone: 800-727-8953 Fax: 800-205-9819/ Website: HDarchitectural.com, or architect approved equivalent.

- Product substitutions must be approved by architect minimum of 30 days prior to close of bid.

  - 2” HORIZONTAL WOOD BLINDS

- PRODUCT: Hunter Douglas “Parkland™ 2” Horizontal Wood Blind”

- MATERIALS:

  - SLATS: 2” wide x 1/8” thick cut from quality selected hardwood with slat ends stained or painted to match slat color. Furnish not less than nominal 6.9 slats per foot (cloth tapes 7.2 slats per foot) to ensure tight closure and light control. Finish with manufacturer’s standard stained and lacquered or painted finish in colors selected by architect from manufacturer’s available contract colors.

  - SLAT SUPPORT: Braided ladders of 100% polyester yarn color compatible with slats and spacing of ladder no more than 44mm. Optional cloth tapes constructed of high strength polyester webbing and spacing of no more than 44mm. Tapes spaced to comply with industry standards for size and weight of blind.

  - HEADRAIL: U-shaped profile with rolled edges, measuring 1 1/2” x 2 1/4” x .024” constructed of corrosion resistant steel and providing a sleek low profile design. Internally fit with components required for specified performance and designed for smooth, quiet, trouble-free operation. Headrail finish to be standard baked-on polyester and to coordinate with slats. Ends fitted with zinc-coated steel end lock with adjustable tab for centering blinds.

  - BOTTOM RAIL: 2” wide x 5/8” thick trapezoidal shape quality selected hardwood with ends stained or painted to match slats. Color-coordinated engineered polymer tape buttons secure the ladder and cord. Finish to be manufacturers standard stained and lacquered or painted finish to match slats.

  - LIFTING MECHANISM: Engineering polymer and galvanized steel housing cordlocks with polymer roller bearing and steel locking dogs, two-ply polyester cord filler in braided polyester jacket lift cords meet or exceed commercial specification 1029.86, and cord stop / tassel. Located on either side of individual blind unit as per architect’s request.

  - TILTING MECHANISM: Permanently lubricated and fully enclosed standard cord tilt holds and tilts slats at any angle. Solid steel, corrosion resistant tilt rod. Optional wand tilt of worm and gear construction with slip clutch incorporated into tilter mechanism.

  - OPTIONAL TILT CONTROL WAND: Rounded 3/8” diameter constructed of quality selected hardwood stained and lacquered or painted to match slats and detachable without tools. Located on either side of individual blind unit as per architect’s request.

  - MOUNTING HARDWARE: Manufacturer’s standard .030” steel box brackets with baked-on polyester finish to match headrail with additional support brackets for blinds over 48” wide.

  - VALANCE: Crafted of selected hardwoods, stained and lacquered or painted to match slats.

  - ADDITIONAL AVAILABLE OPTIONS: Wand Tilt, de-Light Feature, 2 or 3 Blinds on 1 Headrail, Hold Down Brackets, Cutouts, Cloth Tapes, PowerTilt™ with Platinum™ Technology, LiteRise® Cordless Lift System, Extension Brackets.

  - FABRICATION

- Blind measurements shall be accurate to within + 1/8” or as recommended in writing by manufacturer.

2.04 FINISHES

- SLAT finish for “Classics” selection from the following: 450 Distinctly White, 453 Cottonwood, 451 Designer White, 801 Bright White, 473 Bavarian Cream, 867 Vivid White, 808 Eggshell, 809 Linen, 640 Craft paper,  639 Fall Rustle, 638 Malted Milk,  632 Palomino, 830 Natural, 613 Maple Honey, 869 Cottage Pine, 634 Salt and Pepper, 467 Fruitwood, 804 Golden Oak, 870 Warm Cherry, 616 Harvest, 635 Bungalow,  466 Hickory,  636 Thoroughbred, 470 Walnut, 468 Black Cherry, 489 Prairie, 471 Espresso,  602 Windsor Walnut, 480 Mission Oak, 481 Manchester Brown, 637 Velvet Rope, 618 Tuscany,  112 Black.

- SLAT SUPPORT braided ladders shall be color coordinated with slat. Optional 1.5” solid cloth tapes available colors: 048 Black, 064 Bronze, 082 Camel, 292 Terracotta, 293 Bordeaux, 302 Taupe, 336 Chestnut, 378 Sable, 430 Amber, 450 White, 500 Celery, 504 Moss, 572 Spruce, 613 Lake,  614 Ivory, 627 Heritage Blue, 685 Indigo, 830 Almond, 909 Country Redwood, 973 Antique White, 418 Buttercup, 500 Celery, 504 Moss, 627 Heritage Blue, 292 Terracotta, 769 Eggplant.  1.5” patterned tapes available colors:  060 Antique Stripe, 061 Chestnut Stripe, 062 Onyx Stripe, 063 Highlander Stripe, 068 Amber Stripe, 090 Black Stripe, 091 Burgundy Stripe, 092 Taupe Stripe, 093 Cream Stripe, 712 Ivory Paisley, 716 Cranberry Paisley, 717 Vienna Dawn, 718 Vienna Sunset, 719 Vienna Twilight, 720 Vienna Midnight, 723 Autumn Penny, 727 Laurel Brownstone, 820 Butterscotch, 821 Truffle, 822 Licorice, 823 Lingonberry, 824 Popcorn, 852 Nightlife, 884 Paprika, 914 Clove, 916 Glamour, 917 Sophistication, 918 Copper Luster.  1” available colors:  450-1 White, 973-1 Antique White, 830-1 Almond, 082-1 Camel, 430-1 Amber, 336-1 Chestnut, 302-1 Taupe, 378-1 Sable, 293-1 Bordeaux, 500-1 Celery, 685-1 Indigo, 048-1 Black.

PART 3 - EXECUTION

  - INSPECTION:

- SUBCONTRACTOR shall be responsible for inspection on site, approval of mounting surfaces, installation conditions and field measurement for this work.

- OTHER INTERACTING TRADES shall receive drawings of shade systems, dimensions, assembly and installation methods from subcontractor upon request.

  - INSTALLATION:

- INSTALLATION shall comply with manufacturer’s specifications, standards and procedures as detailed on contract drawings.

- ADEQUATE CLEARANCE shall be provided to permit unencumbered operation of shade and hardware.

- CLEAN finish installation of dirt and finger marks. Leave work area clean and free of debris.

  - DEMONSTRATION:

- Demonstrate operation method and instruct owner’s personnel in the proper operation and maintenance of the blinds.

  - SCHEDULE:

- EXTERIOR WINDOWS:

- INTERIOR RELIGHTS:

END OF SECTION 12492